Gain and Phase Analyzer
This WILL have been assembled by the FINAL presentation. We'll have to add it.
Gain and Phase Analyzer
May 8, 2015
[Speaker Notes: C]

---
Team
Team
Chris Pavlina
Electrical Engineer, Team Lead
Harrison Owens
Computer Engineer
Ken Zach
Computer Engineer
Kyle Temkin
Faculty Advisor
[Speaker Notes: C]

---
Agenda
Agenda
- Purpose
- Requirements
- Design
  - PCB
  - GUI
- Schedule
- Budget
- Final Steps
[Speaker Notes: H]

---
Purpose
Purpose
- Test the performance of filters, amplifiers
- Generate Bode plot with
amplitude and phase
[Speaker Notes: K]

---
Uses
Uses
- Education
- Testing, design, characterization of:
  - Filters
  - Amplifiers
  - Control systems
[Speaker Notes: K]

---
Why?
Why?
Current state of industry
  - Large
  - Expensive! This one is $33k:
  - Learning curve
  - Students can’t see how it works!
Our Goal
  - Portable
  - Cost around $200
  - Easy to use for students and teachers
  - Open source
Image: Keysight Technologies, “E5071C ENA Series Network Analyzer”
[Speaker Notes: Chris]

---
Requirements
Requirements
[Speaker Notes: Chris]

---
Design — Software
Design
Software
[Speaker Notes: Harrison]

---
Design — Microcontroller
Design
Microcontroller
SAM4S Development Board
[Speaker Notes: Harrison]

---
Design — Signal Output
Design
Signal Output
[Speaker Notes: C]

---
Design — Signal Generation
Design
Signal Generation
[Speaker Notes: Ken]

---
Design — Detection
Design
Detection
[Speaker Notes: K]

---
Design
Phase Detection
[Speaker Notes: K]

---
Design — PCB
Design — PCB
[Speaker Notes: C]

---
GUI
Design
GUI
[Speaker Notes: Harrison]

---
Schedule
Schedule
Item	Completed
Specification	October 17, 2014
Development plan	October 31, 2014
Prototypes built	December 5, 2014
Interim	December 5, 2014
Prototypes corrected	February 26, 2015
Final PCB layout	March 14, 2015
Alpha firmware completed	March 19, 2015
PCB assembled	April 8, 2015
PC software completed	April 30, 2015
[Speaker Notes: Harrison]

---
Timeline
Timeline
[Speaker Notes: Harrison]

---
Budget
Budget
Item	Expended	Actual	Est'd to Completion	Est'd at Completion
Synth. proto.	$60	$60	$0	$60
Input proto.	$70	$70	$0	$70
Amp proto.	$91	$91	$0	$91
Final build	$210	$210	$0	$210
Enclosure	$21	$21	$0	$21
Total	$452	$452	$0	$452
[Speaker Notes: Harrison]

---
Future Plans
Future Plans
- Hardware revision 2?
  - Remove parts to make board smaller
  - Less expensive power amplifier
- Further software development
  - Integration with math packages
  - More robust algorithms
- Otherwise, ready to package!
[Speaker Notes: Ken]

---
Conclusion
Conclusion
- Product can capture Bode plots
- Uses signal synthesizer, output amplifier, input frontend, ADC, and microcontroller
- Cross-platform, open-source PC software
- All requirements met
[Speaker Notes: Kaidi]

---
Demo
Demo